{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["16-chan","32-chan","64-chan","128-chan","160-chan","256-chan"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"16-chan","index":0,"n_rows":16,"n_cols":5,"rows_kept":16,"flags":["formulas_cached_only"]}
["Fp1",-92,-72,null,"Spherical coordinates in degrees,"]
["Fp2",92,72,null,"by azimuth (from Cz, pos is right hemisphere, neg is left hemisphere),"]
["F4",60,51,null,"and latitude (from T7 for left hemisphere, and from T8 for the right hemisphere, pos is anti-clockwise, neg is clockwise)"]
["Fz",46,90]
["F3",-60,-51]
["T7",-92,0]
["C3",-46,0]
["Cz",0,0]
["C4",46,0]
["T8",92,0]
["P4",60,-51]
["Pz",46,-90]
["P3",-60,51]
["O1",-92,72]
["Oz",92,-90]
["O2",92,-72]

{"sheet":"32-chan","index":1,"n_rows":32,"n_cols":5,"rows_kept":32,"flags":["formulas_cached_only"]}
["Fp1",-92,-72,null,"Spherical coordinates in degrees,"]
["AF3",-74,-65,null,"by azimuth (from Cz, pos is right hemisphere, neg is left hemisphere),"]
["F7",-92,-36,null,"and latitude (from T7 for left hemisphere, and from T8 for the right hemisphere, pos is anti-clockwise, neg is clockwise)"]
["F3",-60,-51]
["FC1",-32,-45]
["FC5",-72,-21]
["T7",-92,0]
["C3",-46,0]
["CP1",-32,45]
["CP5",-72,21]
["P7",-92,36]
["P3",-60,51]
["Pz",46,-90]
["PO3",-74,65]
["O1",-92,72]
["Oz",92,-90]
["O2",92,-72]
["PO4",74,-65]
["P4",60,-51]
["P8",92,-36]
["CP6",72,-21]
["CP2",32,-45]
["C4",46,0]
["T8",92,0]
["FC6",72,21]
["FC2",32,45]
["F4",60,51]
["F8",92,36]
["AF4",74,65]
["Fp2",92,72]
["Fz",46,90]
["Cz",0,0]

{"sheet":"64-chan","index":2,"n_rows":64,"n_cols":5,"rows_kept":64,"flags":["formulas_cached_only"]}
["Fp1",-92,-72,null,"Spherical coordinates in degrees,"]
["AF7",-92,-54,null,"by azimuth (from Cz, pos is right hemisphere, neg is left hemisphere),"]
["AF3",-74,-65,null,"and latitude (from T7 for left hemisphere, and from T8 for the right hemisphere, pos is anti-clockwise, neg is clockwise)"]
["F1",-50,-68]
["F3",-60,-51]
["F5",-75,-41]
["F7",-92,-36]
["FT7",-92,-18]
["FC5",-72,-21]
["FC3",-50,-28]
["FC1",-32,-45]
["C1",-23,0]
["C3",-46,0]
["C5",-69,0]
["T7",-92,0]
["TP7",-92,18]
["CP5",-72,21]
["CP3",-50,28]
["CP1",-32,45]
["P1",-50,68]
["P3",-60,51]
["P5",-75,41]
["P7",-92,36]
["P9",-115,40]
["PO7",-92,54]
["PO3",-74,65]
["O1",-92,72]
["Iz",115,-90]
["Oz",92,-90]
["POz",69,-90]
["Pz",46,-90]
["CPz",23,-90]
["Fpz",92,90]
["Fp2",92,72]
["AF8",92,54]
["AF4",74,65]
["Afz",69,90]
["Fz",46,90]
["F2",50,68]
["F4",60,51]
["F6",75,41]
["F8",92,36]
["FT8",92,18]
["FC6",72,21]
["FC4",50,28]
["FC2",32,45]
["FCz",23,90]
["Cz",0,0]
["C2",23,0]
["C4",46,0]
["C6",69,0]
["T8",92,0]
["TP8",92,-18]
["CP6",72,-21]
["CP4",50,-28]
["CP2",32,-45]
["P2",50,-68]
["P4",60,-51]
["P6",75,-41]
["P8",92,-36]
["P10",115,-40]
["PO8",92,-54]
["PO4",74,-65]
["O2",92,-72]

{"sheet":"128-chan","index":3,"n_rows":128,"n_cols":5,"rows_kept":128,"flags":["formulas_cached_only"]}
["A1",0,0,"Cz","Spherical coordinates in degrees,"]
["A2",11.5,-90,null,"by azimuth (from Cz, pos is right hemisphere, neg is left hemisphere),"]
["A3",23,-90,"CPz","and latitude (from T7 for left hemisphere, and from T8 for the right hemisphere, pos is anti-clockwise, neg is clockwise)"]
["A4",34.5,-90]
["A5",-46,67.5]
["A6",-46,45]
["A7",-57.5,45]
["A8",-69,54]
["A9",-80.5,54]
["A10",-92,54]
["A11",-103.5,54]
["A12",-115,54]
["A13",-115,72]
["A14",-103.5,72]
["A15",-92,72]
["A16",-80.5,72]
["A17",-69,72]
["A18",-57.5,67.5]
["A19",46,-90,"Pz"]
["A20",57.5,-90]
["A21",69,-90,"Poz"]
["A22",80.5,-90]
["A23",92,-90,"Oz"]
["A24",103.5,-90]
["A25",115,-90,"Iz"]
["A26",115,-72]
["A27",103.5,-72]
["A28",92,-72]
["A29",80.5,-72]
["A30",69,-72]
["A31",57.5,-67.5]
["A32",46,-67.5]
["B1",11.5,-18]
["B2",23,-45]
["B3",46,-45]
["B4",57.5,-45]
["B5",69,-54]
["B6",80.5,-54]
["B7",92,-54]
["B8",103.5,-54]
["B9",115,-54]
["B10",103.5,-36]
["B11",92,-36,"P8"]
["B12",80.5,-36]
["B13",69,-36]
["B14",92,-18]
["B15",80.5,-18]
["B16",69,-18]
["B17",57.5,-22.5]
["B18",46,-22.5]
["B19",34.5,-30]
["B20",23,0,"C2"]
["B21",34.5,0]
["B22",46,0,"C4"]
["B23",57.5,0]
["B24",69,0,"C6"]
["B25",80.5,0]
["B26",92,0,"T8"]
["B27",92,18]
["B28",80.5,18]
["B29",69,18]
["B30",57.5,22.5]
["B31",46,22.5]
["B32",34.5,30]
["C1",11.5,54]
["C2",23,45]
["C3",46,45]
["C4",57.5,45]
["C5",69,36]
["C6",80.5,36]
["C7",92,36,"F8"]
["C8",92,54]
["C9",80.5,54]
["C10",69,54]
["C11",34.5,60]
["C12",46,67.5]
["C13",57.5,67.5]
["C14",69,72]
["C15",80.5,72]
["C16",92,72]
["C17",92,90,"Fpz"]
["C18",80.5,90]
["C19",69,90,"Afz"]
["C20",57.5,90]
["C21",46,90,"Fz"]
["C22",34.5,90]
["C23",23,90,"FCz"]
["C24",-34.5,-60]
["C25",-46,-67.5]
["C26",-57.5,-67.5]
["C27",-69,-72]
["C28",-80.5,-72]
["C29",-92,-72]
["C30",-92,-54]
["C31",-80.5,-54]
["C32",-69,-54]
["D1",-11.5,-54]
["D2",-23,-45]
["D3",-46,-45]
["D4",-57.5,-45]
["D5",-69,-36]
["D6",-80.5,-36]
["D7",-92,-36,"F7"]
["D8",-92,-18]
["D9",-80.5,-18]
["D10",-69,-18]
["D11",-57.5,-22.5]
["D12",-46,-22.5]
["D13",-34.5,-30]
["D14",-23,0,"C1"]
["D15",-11.5,18]
["D16",-23,45]
["D17",-34.5,30]
["D18",-34.5,0]
["D19",-46,0,"C3"]
["D20",-57.5,0]
["D21",-69,0,"C5"]
["D22",-80.5,0]
["D23",-92,0,"T7"]
["D24",-92,18]
["D25",-80.5,18]
["D26",-69,18]
["D27",-57.5,22.5]
["D28",-46,22.5]
["D29",-69,36]
["D30",-80.5,36]
["D31",-92,36,"P7"]
["D32",-103.5,36]

{"sheet":"160-chan","index":4,"n_rows":160,"n_cols":5,"rows_kept":160,"flags":["formulas_cached_only"]}
["A1",0,0,"Cz","Spherical coordinates in degrees,"]
["A2",11.5,-90,null,"by azimuth (from Cz, pos is right hemisphere, neg is left hemisphere),"]
["A3",23,-90,null,"and latitude (from T7 for left hemisphere, and from T8 for the right hemisphere, pos is anti-clockwise, neg is clockwise)"]
["A4",34.5,-90]
["A5",-46,72]
["A6",-46,54]
["A7",-57.5,54]
["A8",-69,60]
["A9",-80.5,60]
["A10",-92,60]
["A11",-103.5,60]
["A12",-115,60]
["A13",-115,75]
["A14",-103.5,75]
["A15",-92,75]
["A16",-80.5,75]
["A17",-69,75]
["A18",-57.5,72]
["A19",46,-90,"Pz"]
["A20",57.5,-90]
["A21",69,-90]
["A22",80.5,-90]
["A23",92,-90,"Oz"]
["A24",103.5,-90]
["A25",115,-90]
["A26",115,-75]
["A27",103.5,-75]
["A28",92,-75]
["A29",80.5,-75]
["A30",69,-75]
["A31",57.5,-72]
["A32",46,-72]
["B1",11.5,-18]
["B2",23,-60]
["B3",46,-54]
["B4",57.5,-54]
["B5",69,-60]
["B6",80.5,-60]
["B7",92,-60]
["B8",103.5,-60]
["B9",115,-60]
["B10",115,-45]
["B11",103.5,-45]
["B12",92,-45]
["B13",80.5,-45]
["B14",69,-45]
["B15",69,-30]
["B16",80.5,-30]
["B17",92,-30]
["B18",103.5,-30]
["B19",92,-15]
["B20",80.5,-15]
["B21",69,-15]
["B22",57.5,-36]
["B23",46,-36]
["B24",34.5,-45]
["B25",23,-30]
["B26",34.5,-22.5]
["B27",46,-18]
["B28",57.5,-18]
["B29",57.5,0]
["B30",69,0]
["B31",80.5,0]
["B32",92,0,"T8"]
["C1",11.5,54]
["C2",23,30]
["C3",23,0]
["C4",34.5,0]
["C5",34.5,22.5]
["C6",46,18]
["C7",46,0,"C4"]
["C8",57.5,18]
["C9",69,15]
["C10",80.5,15]
["C11",92,15]
["C12",92,30]
["C13",80.5,30]
["C14",69,30]
["C15",69,45]
["C16",80.5,45]
["C17",92,45]
["C18",92,60]
["C19",80.5,60]
["C20",69,60]
["C21",57.5,54]
["C22",57.5,36]
["C23",46,36]
["C24",34.5,45]
["C25",23,60]
["C26",34.5,67.5]
["C27",46,54]
["C28",46,72]
["C29",57.5,72]
["C30",69,75]
["C31",80.5,75]
["C32",92,75]
["D1",-11.5,-54]
["D2",23,90]
["D3",34.5,90]
["D4",46,90,"Fz"]
["D5",57.5,90]
["D6",69,90]
["D7",80.5,90]
["D8",92,90,"Fpz"]
["D9",-92,-75]
["D10",-80.5,-75]
["D11",-69,-75]
["D12",-57.5,-72]
["D13",-46,-72]
["D14",-34.5,-67.5]
["D15",-23,-60]
["D16",-23,-30]
["D17",-34.5,-45]
["D18",-46,-54]
["D19",-57.5,-54]
["D20",-69,-60]
["D21",-80.5,-60]
["D22",-92,-60]
["D23",-92,-45]
["D24",-80.5,-45]
["D25",-69,-45]
["D26",-57.5,-36]
["D27",-46,-36]
["D28",-34.5,-22.5]
["D29",-46,-18]
["D30",-69,-30]
["D31",-80.5,-30]
["D32",-92,-30]
["E1",-11.5,18]
["E2",-23,0]
["E3",-34.5,0]
["E4",-46,0,"C3"]
["E5",-57.5,-18]
["E6",-69,-15]
["E7",-80.5,-15]
["E8",-92,-15]
["E9",-92,0,"T7"]
["E10",-80.5,0]
["E11",-69,0]
["E12",-57.5,0]
["E13",-57.5,18]
["E14",-69,15]
["E15",-80.5,15]
["E16",-92,15]
["E17",-103.5,30]
["E18",-92,30]
["E19",-80.5,30]
["E20",-69,30]
["E21",-46,18]
["E22",-34.5,22.5]
["E23",-23,30]
["E24",-23,60]
["E25",-34.5,45]
["E26",-46,36]
["E27",-57.5,36]
["E28",-69,45]
["E29",-80.5,45]
["E30",-92,45]
["E31",-103.5,45]
["E32",-115,45]

{"sheet":"256-chan","index":5,"n_rows":256,"n_cols":5,"rows_kept":256,"flags":["formulas_cached_only"]}
["A1",0,0,"Cz","Spherical coordinates in degrees,"]
["A2",9.2,-90,null,"by azimuth (from Cz, pos is right hemisphere, neg is left hemisphere),"]
["A3",18.4,-90,null,"and latitude (from T7 for left hemisphere, and from T8 for the right hemisphere, pos is anti-clockwise, neg is clockwise)"]
["A4",27.6,-90]
["A5",36.8,-90]
["A6",46,-90,"Pz"]
["A7",-46,75]
["A8",-55.2,75]
["A9",-64.4,78]
["A10",-73.6,78]
["A11",-82.8,78.75]
["A12",-92,78.75]
["A13",-101.2,78.75]
["A14",-110.4,78]
["A15",-119.6,78]
["A16",119.6,-90]
["A17",110.4,-90]
["A18",101.2,-90]
["A19",92,-90,"Oz"]
["A20",82.8,-90]
["A21",73.6,-90]
["A22",64.4,-90]
["A23",55.2,-90]
["A24",46,-75]
["A25",55.2,-75]
["A26",64.4,-78]
["A27",73.6,-78]
["A28",82.8,-78.75]
["A29",92,-78.75]
["A30",101.2,-78.75]
["A31",110.4,-78]
["A32",119.6,-78]
["B1",18.4,-54]
["B2",27.6,-66]
["B3",36.8,-54]
["B4",46,-60]
["B5",55.2,-60]
["B6",64.4,-66]
["B7",73.6,-66]
["B8",82.8,-67.5]
["B9",92,-67.5]
["B10",101.2,-67.5]
["B11",110.4,-66]
["B12",119.6,-66]
["B13",110.4,-54]
["B14",101.2,-56.25]
["B15",92,-56.25]
["B16",82.8,-56.25]
["B17",73.6,-54]
["B18",64.4,-54]
["B19",55.2,-45]
["B20",46,-45]
["B21",27.6,-42]
["B22",36.8,-36]
["B23",46,-30]
["B24",55.2,-30]
["B25",64.4,-42]
["B26",73.6,-42]
["B27",82.8,-45]
["B28",92,-45]
["B29",101.2,-45]
["B30",110.4,-42]
["B31",110.4,-30]
["B32",101.2,-33.75]
["C1",9.2,-18]
["C2",18.4,-18]
["C3",27.6,-18]
["C4",36.8,-18]
["C5",46,-15]
["C6",55.2,-15]
["C7",64.4,-18]
["C8",64.4,-30]
["C9",73.6,-30]
["C10",82.8,-33.75]
["C11",92,-33.75]
["C12",101.2,-22.5]
["C13",92,-22.5]
["C14",82.8,-22.5]
["C15",73.6,-18]
["C16",82.8,-11.25]
["C17",92,-11.25]
["C18",92,0,"T8"]
["C19",82.8,0]
["C20",73.6,-6]
["C21",64.4,-6]
["C22",55.2,0]
["C23",46,0,"C4"]
["C24",36.8,0]
["C25",27.6,6]
["C26",36.8,18]
["C27",46,15]
["C28",55.2,15]
["C29",64.4,6]
["C30",73.6,6]
["C31",82.8,11.25]
["C32",92,11.25]
["D1",9.2,54]
["D2",18.4,18]
["D3",27.6,30]
["D4",36.8,36]
["D5",46,30]
["D6",64.4,18]
["D7",73.6,18]
["D8",82.8,22.5]
["D9",92,22.5]
["D10",101.2,22.5]
["D11",101.2,33.75]
["D12",92,33.75]
["D13",82.8,33.75]
["D14",73.6,30]
["D15",64.4,30]
["D16",55.2,30]
["D17",46,45]
["D18",55.2,45]
["D19",64.4,42]
["D20",73.6,42]
["D21",82.8,45]
["D22",92,45]
["D23",101.2,45]
["D24",92,56.25]
["D25",82.8,56.25]
["D26",73.6,54]
["D27",64.4,54]
["D28",55.2,60]
["D29",64.4,66]
["D30",73.6,66]
["D31",82.8,67.5]
["D32",92,67.5]
["E1",18.4,90]
["E2",18.4,54]
["E3",27.6,54]
["E4",36.8,54]
["E5",46,60]
["E6",46,75]
["E7",55.2,75]
["E8",64.4,78]
["E9",73.6,78]
["E10",82.8,78.75]
["E11",92,78.75]
["E12",92,90,"Fpz"]
["E13",82.8,90]
["E14",73.6,90]
["E15",64.4,90]
["E16",55.2,90]
["E17",46,90,"Fz"]
["E18",36.8,90]
["E19",36.8,72]
["E20",27.6,78]
["E21",-27.6,-78]
["E22",-36.8,-72]
["E23",-46,-75]
["E24",-55.2,-75]
["E25",-64.4,-78]
["E26",-73.6,-78]
["E27",-82.8,-78.75]
["E28",-92,-78.75]
["E29",-92,-67.5]
["E30",-82.8,-67.5]
["E31",-73.6,-66]
["E32",-64.4,-66]
["F1",-9.2,-54]
["F2",-18.4,-54]
["F3",-27.6,-54]
["F4",-36.8,-54]
["F5",-46,-60]
["F6",-55.2,-60]
["F7",-64.4,-54]
["F8",-73.6,-54]
["F9",-82.8,-56.25]
["F10",-92,-56.25]
["F11",-101.2,-45]
["F12",-92,-45]
["F13",-82.8,-45]
["F14",-73.6,-42]
["F15",-64.4,-42]
["F16",-55.2,-45]
["F17",-46,-45]
["F18",-36.8,-36]
["F19",-27.6,-30]
["F20",-18.4,-18]
["F21",-27.6,-6]
["F22",-36.8,-18]
["F23",-46,-30]
["F24",-55.2,-30]
["F25",-64.4,-30]
["F26",-73.6,-30]
["F27",-82.8,-33.75]
["F28",-92,-33.75]
["F29",-101.2,-33.75]
["F30",-101.2,-22.5]
["F31",-92,-22.5]
["F32",-82.8,-22.5]
["G1",-9.2,18]
["G2",-18.4,18]
["G3",-27.6,18]
["G4",-36.8,0]
["G5",-46,-15]
["G6",-55.2,-15]
["G7",-64.4,-18]
["G8",-73.6,-18]
["G9",-82.8,-11.25]
["G10",-92,-11.25]
["G11",-92,0,"T7"]
["G12",-82.8,0]
["G13",-73.6,-6]
["G14",-64.4,-6]
["G15",-55.2,0]
["G16",-46,0,"C3"]
["G17",-55.2,15]
["G18",-64.4,6]
["G19",-73.6,6]
["G20",-82.8,11.25]
["G21",-92,11.25]
["G22",-101.2,22.5]
["G23",-92,22.5]
["G24",-82.8,22.5]
["G25",-73.6,18]
["G26",-64.4,18]
["G27",-64.4,30]
["G28",-73.6,30]
["G29",-82.8,33.75]
["G30",-92,33.75]
["G31",-101.2,33.75]
["G32",-110.4,30]
["H1",-18.4,54]
["H2",-27.6,42]
["H3",-36.8,36]
["H4",-36.8,18]
["H5",-46,15]
["H6",-46,30]
["H7",-55.2,30]
["H8",-64.4,42]
["H9",-73.6,42]
["H10",-82.8,45]
["H11",-92,45]
["H12",-101.2,45]
["H13",-110.4,42]
["H14",-110.4,54]
["H15",-101.2,56.25]
["H16",-92,56.25]
["H17",-82.8,56.25]
["H18",-73.6,54]
["H19",-64.4,54]
["H20",-55.2,45]
["H21",-46,45]
["H22",-36.8,54]
["H23",-27.6,66]
["H24",-46,60]
["H25",-55.2,60]
["H26",-64.4,66]
["H27",-73.6,66]
["H28",-82.8,67.5]
["H29",-92,67.5]
["H30",-101.2,67.5]
["H31",-110.4,66]
["H32",-119.6,66]